## Slide 1
System Dynamics Model for Ventilation effect on COVID-19 transmission
Christian Sørup
Daniel Sepulveda
06 May 2021
Notes: We would like to share with describe briefly the model we have been building

## Slide 2
Context
COVID-19 is transmissible through air
Transmissibility is dependent upon, among others, viral concentration in air
Ventilation has an effect on air viral concentration
Principal policy focus so far on:
  Distance guidelines (density, absolute distance)
  Personal air filters (masks)
  Generic ventilation guidelines
Opportunity for
  Scenario testing for different indoor environments
  Activity-dependent ventilation (e.g., Restaurants, Classrooms)
  Identification of Operational recommendations
    Ventilation System Characteristics (Q, pf, RH)
    Activity type and duration (e.g., number and length of school breaks)

## Slide 3
Proposal outline
Develop a:
Simulation model of relationship between Transmission rate and:
  Ventilation, activity type, level of activity
Identify policy levers and their sensitivity
Apply to specific example cases
In order to:
Provide a learning platform with the explicit representation and simulation of:
  Accumulations (Sources of Inertia)
  Causal relationships
  Feedback Loops
  Exogenous versus Endogenous variables
Through the use of:
System Dynamics Method

## Slide 4
System Dynamics versus traditional control
States
Dynamic modelling (over time)
Polarity (Pos.&Neg.)
Feedback (Pos. & Neg.)
Stock and Flow representation
States as Accumulations
Focus on Relationships
Important variables not necessarily quantified
Frequency domain analysis
Focus on Transfer Function
Focus on stability of Frequency Response (Bode, Nyquist)
System Dynamics
Control Theory

## Slide 5
COVID-19 Model Equations
Model Source: Noakes, C.J., Beggs, C.B., Sleigh, P.A. and Kerr, K.G., 2006. Modelling the transmission of airborne infections in enclosed spaces. Epidemiology & Infection, 134(5), pp.1082-1091.

## Slide 6
Ventilation : Simple Ventilation System
C(t)

## Slide 8
System
Dynamics
Model
Explicit Representation of
  Accumulations (Inertia)
  Causal Relationships
  Exogenous vs Endogenous Variables
  Feedback Loop visibility (R,B)

## Slide 9
Model Results

## Slide 10
Application Example:
Let’s go to VENSIM
Notes: We would like to share with describe briefly the model we have been building

## Slide 11
Next Steps
Calibrate Model
  Data for pathogen-infections-ventilation
Consider particle size

## Slide 12
Thank you
Notes: We would like to share with describe briefly the model we have been building