## Model Parameters
| Variable | unit | Module Location | Comparison Run | Minimum value | Maximum Value
1 | Initial Susceptible Population | people | Infection | 60
2 | Initial Infected | people | Infection | 1
3 | Initial Quanta in Room | quanta | Quanta Population | 100000
4 | mask efficiency | Dmnl | Infection | 0
5 | mask seal leakage | Dmnl | Infection | 1
6 | room area | m*m | Infection | 25
7 | room height | m | Infection | 2
8 | Physical activity infected | Dmnl | Activity Level | 3
9 | Physical activity susceptibles | Dmnl | Activity Level | 1
10 | virion deactivation time | Minute | Quanta Population | 95
11 | viral infectivity | Dmnl | Quanta Population | 5
12 | viral count per droplet volume | virion/mL | Quanta Population | 100000000
13 | total air changes per hour | 1/hour | Quanta Population | 2.6
14 | % recirculated air | Dmnl | Quanta Population | 0.25
15 | air filter efficiency | Dmnl | Quanta Population | 0.2
16 | ventilator flow | m*m*m/Minute | Quanta Population | 350
17 | infective particles surviving fraction | Dmnl | Quanta Population | 0.181124
18 | particle diameter | m | Quanta Population | 3e-06 | 3e-06 | 3e-06
19 | particle density | kg/(m*m*m) | Quanta Population | 1000 | 1000 | 1000
20 | acceleration of gravity | m/(s*s) | Quanta Population | 9.82 | 9.82 | 9.82
21 | air density | kg/(m*m*m) | Quanta Population | 1204 | 1204 | 1204
22 | dynamic viscosity air | kg/(m*s) | Quanta Population | 0.01807 | 0.01807 | 0.01807
23 | Switch Quanta Production | Dmnl | Quanta Population | 0
24 | Switch-Ventilator UV | Dmnl | Quanta Population | 1